|  | Technical Specification for Verification and Inspection of Taximeters | S/N | CNMV 21 |
| --- | --- | --- | --- |
|  |  | Rev. | 2 |
| 1. This Technical Specification is developed pursuant to Paragraph 2, Articles 14 and 16 of the Weights and Measures Act. 2. The date of promulgation, document number, date of enforcement and content of amendment are listed as follows: Rev. Date of Promulgation Document No. (Ching-Piao-Szu-Tsu ) Date of Enforcement Content of Amendment 1 29.05.2003 No.09240005120 01.07.2003 2 22.11.2006 No.09540004830 22.11.2006 3. This technical specification is formulated with reference to the following international specifications: OIML R21 Taximeter (1975) |
| Date of Promulgation 22.11.2006 | Bureau of Standards, Metrology and Inspection Ministry of Economic Affairs | Date of Enforcement 22.11.2006 |

1. Scope: this specification applies to electronic taximeters (hereinafter referred to as "taximeters"),

i.e., with electronic devices, a pricing meter installed in a profit seeking small bus or a taxi to

calculate and display the amount payable by the passenger.

2. Definition of Terms

2.1 Stationary verification: the initial verification of a taximeter, which is conducted after the taximeter is produced.

2.2 Wheels verification (running verification): the re-verification of a taximeter, which is conducted after a taximeter is installed in the car.

2.3 Set number of signals: the number of pulse waves received by a taximeter, a numeric value representing a distance travelled of 1 km.

2.4 Initial charge: a minimum fixed sum to be paid by the passenger.

2.5 Distance count: the pricing mode based on distance travelled.

2.6 Time count: the pricing mode for calculating the charge according to the time of delay under a prescribed speed.

2.7 Distance and time count: the pricing mode for calculating the charge according to the distance travelled and the time of delay under a prescribed speed.

2.8 Fare: the charge calculated by the taximeter.

2.9 Range setting: related parameters for setting tariffs.

3. Construction

3.1 The following items shall be marked or indicated on the front panel of a taximeter:

(1) Serial number and type;

(2) Signal setup (revolutions);

(3) Fare (NTD), distance (kilometer), time (minute, second);

(4) Brand;

(5) Type approval number; and

(6) The space left for adherence of a verification compliance tag.

A taximeter with an automatic control of the surcharge calculation shall indicate the real

time.

3.2 When any function key is pressed, a beep prompt shall be given and clearly display or indicate the conditions of the taximeter used.

3.3 The taximeter shall be installed in an obvious place in the car, facing the customers' seats.

3.4 Another through-hole shall be drilled on the left side or right side of the cover referred to in the preceding section and also on the car body on the taximeter side, to allow for threading connection for lead seal when conducting wheels verification.

3.5 Before a taximeter is sent to a verification body for stationary verification, where necessary, the cover shall be lead sealed at two points on the left and on the right by the manufacturer or importer itself, except for lead sealed by the Bureau of Standards, Metrology and Inspection (BSMI).

3.6 After passing the wheels verification, the lead seals for stationary verification shall still be remained, and a wheels verification compliance marks shall be attached to the face of the taximeter. If the instrument has no stationary verification compliance mark and lead seals or the lead seals is damaged, an application for wheels verification shall be rejected.

3.7 After a taximeter is installed, the front end of the joint connecting it to the car body shall be lead sealed by the installation firm, and the tail end lead sealed by the verification body after it passes the wheels verification. Neither of the aforesaid lead seals should be enveloped.

3.8 When the seals are removed for repair, the repair firm shall attach lead seals at two points on the left and on the right and remove the original wheels verification tag. The taxi operator shall apply for re-verification within 3 days commencing from the removal of the seals. If the taximeter passes the verification, lead seals shall be attached again onto the original places in accordance with the requirements of Section 3.7.

4. Verification, Inspection and Maximum Permissible Errors

4.1 Verification and inspection equipment: certificates of traceability shall be provided.

4.2 Stationary verification items are as follows:

4.2.1 Taximeters are checked in compliance with the provisions set forth in Sections 3.1,

3.2, and 3.5 of this Specification.

4.2.2 Differences between the actual measures and the set values of distance count, time

count and night surcharge of a taximeter are within the specified maximum

permissible errors.

4.2.3 A taximeter shall work normally when the power voltage varies between 9V and 16V.

Original values shall be displayed when the voltage declines to 6V and then return to

12V within 10 seconds. The displayed fare shall not be changed after the power is

switched 5 times continuously under an ordinary working voltage.

4.2.4 Speed measured when a taximeter converts to time-based pricing does not exceed the specified maximum permissible errors.

4.3 Items of wheels verification (including running verification) are as follows:

4.3.1 Taximeters are checked in compliance with the provisions set forth in Sections 3.3,

3.4, 3.6, 3.7 and 3.8 of this Specification.

4.3.2 Differences between the actual measures and the set values of distance count of a

taximeter are within the specified maximum permissible errors.

4.4 Maximum permissible errors of verification are prescribed as follows:

4.4.1 Stationary verification:

(1) The maximum permissible errors of speed for converting time-based pricing of a taximeter are (10 %.

(2) The maximum permissible errors of time for stationary verification of a taxi-meter are (2 %.

(3) The maximum permissible error of distance for stationary verification of a taximeter is +2 %, with no negative maximum permissible errors.

4.4.2 Wheels verification (including running verification):

The maximum permissible error of distance for wheels or road verification of a

taximeter is +4 %, with no negative maximum permissible errors.

4.5 The maximum permissible errors of inspection for taximeters are 1.5 times the maximum permissible errors of wheels verification.

4.6	The period of validity of verification is 1 years, commencing from the day of a verification compliance mark affixed to the taximeter and expiring on the first day of the next month of 1 years.

5. Verification Compliance Marks

5.1 After passing stationary verification, a verification compliance marks shall be attached to the prominent place of the body of the taximeter.

5.2	After passing wheels verification, the joint between the taximeter shell and the car body shall be lead-sealed and a wheels verification compliance marks shall be attached to the front of the taximeter.

# Text boxes

NO GUARANTEE ON THE TRANSLATION

In case of discrepancies between the English translation and Chinese text, the Chinese text shall govern.