{"text_format":"2","workbook":"xls","n_sheets":1,"sheets":["一覽表"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":1,"defined_names":1,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"一覽表","index":0,"n_rows":83,"n_cols":11,"rows_kept":83,"cut":false,"hidden":false,"merged":[[0,1,0,10]],"flags":["formulas_cached_only"]}
[null,"電子式非自動衡器型式認證認可一覽表"]
["項次","型式認證號碼","廠  牌","型  號","最  大\n秤  量","檢定標尺\n分度值","核准\n日期","有效\n期限","公司\n名稱","電   話","備  註"]
[1,"EST894004","DIGI牌","SM-90","6/15 kg","2/5 g","89.10.25","103.7.29","商進貿易股份有限公司","02-86485757","具計價及列印條碼功能"]
[2,"EST894007","金點牌","AD-30","30 kg","10 g","89.12.06","103.7.29","宏兆電子有限公司","04-8815593","具計價功能"]
[3,"EST894004-1","DIGI牌","SM-80SXP","6/15 kg","2/5 g","90.01.15","103.7.29","商進貿易股份有限公司","02-86485757","具計價功能"]
[4,"EST894009","ISHIDA牌","AC-3000","6/15 kg","2/5 g","90.03.29","103.7.29","致沅貿易股份有限公司","02-22935812","具計價及列印條碼功能"]
[5,"EST894005","DIGI牌","DPS-3600","6/15 kg","2/5 g","90.05.04","103.7.29","商進貿易股份有限公司","02-86485757","具計價及列印條碼功能"]
[6,"EST904011","英展牌","EP-30","15/30 kg","5/10 g","90.07.02","103.7.29","英展實業股份有限公司","02-8919100","具計價功能"]
[7,"EST904011-1","英展牌","SA-30","15/30 kg","5/10 g","90.07.02","103.7.29","英展實業股份有限公司","02-8919100","具計價功能"]
[8,"EST904012","金獅牌","GE-60","30/60 kg","10/20 g","90.07.02","103.7.29","英展實業股份有限公司","02-89192237","具計價功能"]
[9,"EST904012-1","金獅牌","GE-30","15/30 kg","5/10 g","90.07.02","103.7.29","英展實業股份有限公司","02-89192237","具計價功能"]
[10,"EST894007-1","金點牌","AD-15","15 kg","5 g","90.07.19","103.7.29","宏兆電子有限公司","04-8815593","具計價功能"]
[11,"EST904014","上準牌","SUP-30S","30 kg","10 g","90.07.23","103.7.29","上準衡器股份有限公司","04-22453226","具計價功能"]
[12,"EST904011-2","英展牌","FD-30","15/30 kg","5/10 g","90.08.23","103.7.29","英展實業股份有限公司","02-8919100","具計價功能"]
[13,"EST894005-1","DIGI牌","DPS-3600XT","6/15 kg","2/5 g","90.11.01","103.7.29","商進貿易股份有限公司","02-86485757","具計價及列印條碼功能"]
[14,"EST904012-2","金獅牌","GH-30","15/30 kg","5/10 g","90.12.04","103.7.29","英展實業股份有限公司","02-89192237","具計價功能"]
[15,"EST904015","永田牌","EPB-30A","15/30 kg","5/10 g","90.12.31","103.7.29","永泰度量衡有限公司","06-2534191","具計價功能"]
[16,"EST904016","DIGI牌","SM-90H","6/15 kg","2/5 g","91.1.31","103.7.29","商進貿易股份有限公司","02-86485757","具計價及列印條碼功能(吊掛式)"]
[17,"EST904017","金來磅牌","GDHP-30K","30 kg","5 g","91.1.10","103.7.29","德普尼實業有限公司","02-85221788","具計價功能"]
[18,"EST904017-1","金來磅牌","GHP-30K","30 kg","10 g","91.1.10","103.7.29","德普尼實業有限公司","02-85221788","具計價功能"]
[19,"EST904017-2","金來磅牌","GDAP-30K","30 kg","5 g","91.1.10","103.7.29","德普尼實業有限公司","02-85221788","具計價功能"]
[20,"EST904018","金來磅牌","MP-30K","30 kg","10 g","91.1.10","103.7.29","德普尼實業有限公司","02-85221788","具計價功能"]
[21,"EST904018-1","金來磅牌","GMP-30K","30 kg","10 g","91.1.10","103.7.29","德普尼實業有限公司","02-85221788","具計價功能"]
[22,"EST914019","權衡牌","OXP-30","15/30 kg","5/10 g","91.4.2","103.7.29","權衡興業股份有限公司","02-29180120","具計價功能"]
[23,"EST914019-1","權衡牌","XP-21","9/21 kg","5/10 g","91.4.2","103.7.29","權衡興業股份有限公司","02-29180120","具計價功能"]
[24,"EST914020","頂尖牌","PS-15","15 kg","5 g","92.1.30","103.7.29","頂尖科技股份有限公司","02-27884800","具計價及列印條碼功能"]
[25,"EST914021","英展牌","EP-6","3/6 kg","1/2 g","91.12.2","103.7.29","英展實業股份有限公司","02-89191000","具計價功能"]
[26,"EST914022","真是寶牌","MRP-30","15/30 kg","5/10 g","91.12.13","103.7.29","廣企科技有限公司","04-24916000","具計價功能"]
[27,"EST914022-1","真是寶牌","WIP-30","15/30 kg","5/10 g","91.12.13","103.7.29","廣企科技有限公司","04-24916000","具計價功能"]
[28,"EST914022-2","真是寶牌","DAP-30","15/30 kg","5/10 g","91.12.13","103.7.29","廣企科技有限公司","04-24916000","具計價功能"]
[29,"EST914022-3","真是寶牌","URP-30","15/30 kg","5/10 g","91.12.13","103.7.29","廣企科技有限公司","04-24916000","具計價功能"]
[30,"EST914022-4","真是寶牌","SRP-30","30 kg","10 g","91.12.13","103.7.29","廣企科技有限公司","04-24916000","具計價功能"]
[31,"EST914022-5","真是寶牌","TNP-30","30 kg","10 g","91.12.13","103.7.29","廣企科技有限公司","04-24916000","具計價功能"]
[32,"EST914023","DIGI牌","SM-300P","6/15 kg","2/5 g","92.1.15","103.7.29","商進貿易股份有限公司","02-86485757","具計價及列印條碼功能"]
[33,"EST914024","ISHIDA牌","AC-3000H","15 kg","5 g","92.2.26","103.7.29","致沅貿易股份有限公司","02-22935812","具計價及列印條碼功能(吊掛式)"]
[34,"EST914025","ISHIDA牌","ASTRA XT","6/15kg","2/5 g","92.2.26","103.7.29","致沅貿易股份有限公司","02-22935812","具計價及列印條碼功能"]
[35,"EST914025-1","ISHIDA牌","ASTRA XT-B","6/15 kg","2/5 g","92.2.26","103.7.29","致沅貿易股份有限公司","02-22935812","具計價及列印條碼功能"]
[36,"EST924026","ISHIDA牌","IP-EMZ","6/15 kg","2/5 g","92.4.25","103.7.29","致沅貿易股份有限公司","02-22935812","具計價及列印條碼功能"]
[37,"EST934027","UP-GRN牌","ACS-30","30 kg","10 g","93.7.26","103.7.26","尚凌國際股份有限公司","03-3611530","具計價功能"]
[38,"EST934028","SNOWREX牌","HP-303A","Max1=5 kg\nMax2=10 kg\nMax3=30 kg","e1=1 g\ne2=2 g\ne3=10 g","93.8.30","103.8.30","怡先國際股份有限公司","02-27853343"]
[39,"EST934029","ISHIDA牌","AC-4000H","15 kg","5 g","93.10.28","103.10.28","致沅貿易股份有限公司","02-22935812","具計價及列印條碼功能(吊掛式)"]
[40,"EST934030","ISHIDA牌","AC-4000","6/15 kg","2/5 g","93.12.1","103.12.1","致沅貿易股份有限公司","02-22935812","具計價及列印條碼功能"]
[41,"BA094031","JADEVER牌","JPG-15K","15 kg","5 g","94.2.17","104.2.17","鈺恆股份有限公司","02-22990203","具計價功能"]
[42,"BA094031-1","JADEVER牌","JPG-30K","30 kg","10 g","94.2.17","104.2.17","鈺恆股份有限公司","02-22990203","具計價功能"]
[43,"BA094032","DIGI牌","SM-300B JR","15/30 kg","5/10 g","94.6.29","104.6.29","商進貿易股份有限公司","02-86485757","具計價及列印條碼功能"]
[44,"BA094033","宇權牌","BS30A","5/10/30 kg","1/2/10 g","94.8.25","104.8.25","宇權興業股份有限公司","02-29180121"]
[45,"BA094034","金山牌","HP-30","15/30 kg","5/10 g","94.10.19","104.10.19","怡先國際股份有限公司","02-27853343","具計價功能"]
[46,"BA094035","ISHIDA牌","EP-6000","5/10/30 kg","1/2/10 g","94.12.12","104.12.12","致沅貿易股份有限公司","02-22935812"]
[47,"BA095036","DIGI牌","SM-500TEP","6/15 kg","2/5 g","95.12.18","105.12.17","商進貿易股份有限公司","02-86485757","具計價及列印條碼功能"]
[48,"BA094034-1","金山牌","CKP-30","15/30 kg","5/10 g","96.2.5","104.10.19","怡先國際股份有限公司","02-27853343","具計價功能"]
[49,"BA095036-1","DIGI牌","SM-500TEPS","6/15 kg","2/5 g","96.4.11","105.12.17","商進貿易股份有限公司","02-86485757","具計價及列印條碼功能"]
[50,"BA095036-2","DIGI牌","SM-500TEB","6/15 kg","2/5 g","96.4.11","105.12.17","商進貿易股份有限公司","02-86485757","具計價及列印條碼功能"]
[51,"BA096037","真是寶牌","TP-15","6/15 kg","2/5 g","96.07.31","106.7.30","廣企科技有限公司","04-24916000","具計價功能"]
[52,"BA096037-1","真是寶牌","UP-15","6/15 kg","2/5 g","96.10.29","106.7.30","廣企科技有限公司","04-24916000","具計價功能"]
[53,"BA097038","永田牌","ED-007","30/60/150 kg","10/20/50 g","97.01.21","107.01.20","永泰度量衡有限公司","06-2534191","具計價功能"]
[54,"BA097038-1","永田牌","ED-007A","60/150 kg","20/50 g","97.02.15","107.01.20","永泰度量衡有限公司","06-2534191","具計價功能"]
[55,"BA097038-2","永田牌","KP-007","60/150 kg","20/50 g","97.02.15","107.01.20","永泰度量衡有限公司","06-2534191","具計價功能"]
[56,"BA097039","EXCELL牌","AW-30kg","Max1=5 kg\nMax2=10 kg\nMax3=30 kg","e1=1 g\ne2=2 g\ne3=10 g","97.04.21","107.04.20","英展實業股份有限公司","02-89191000"]
[57,"BA097039-1","EXCELL牌","AWS-30kg","Max1=5 kg\nMax2=10 kg\nMax3=30 kg","e1=1 g\ne2=2 g\ne3=10 g","97.04.21","107.04.20","英展實業股份有限公司","02-89191001"]
[58,"EST934028-1","SNOWREX牌","HP-303D","Max1=5 kg\nMax2=10 kg\nMax3=30 kg","e1=1 g\ne2=2 g\ne3=10 g","97.04.24","103.8.30","怡先國際股份有限公司","02-27853343"]
[59,"BA097040","LEADWAY牌","SEP-150","60/150 kg","20/50 g","97.12.17","107.12.16","廣企科技有限公司","04-24916000","具計價功能"]
[60,"BA097040-1","LEADWAY牌","SEP-150B","60/150 kg","20/50 g","97.12.17","107.12.16","廣企科技有限公司","04-24916000","具計價功能"]
[61,"BA097040-2","LEADWAY牌","SAP-150A","60/150 kg","20/50 g","97.12.17","107.12.16","廣企科技有限公司","04-24916000","具計價功能"]
[62,"BA097040-3","LEADWAY牌","SAP-150B","60/150 kg","20/50 g","97.12.17","107.12.16","廣企科技有限公司","04-24916000","具計價功能"]
[63,"BA097040-4","LEADWAY牌","SUP-150","60/150 kg","20/50 g","98.11.6","107.12.16","廣企科技有限公司","04-24916000","具計價功能"]
[64,"BA098041","英展牌","AM3-30","15/30 kg","5/10 g","98.5.7","108.5.6","英展實業股份有限公司","02-27853343","具計價功能"]
[65,"BA098042","真是寶牌","EQP-105","30/60/105 kg","10/20/50 g","98.6.2","108.6.1","廣企科技有限公司","04-24916000","具計價功能"]
[66,"BA098042-1","真是寶牌","EMP-105","30/60/105 kg","10/20/50 g","98.6.2","108.6.1","廣企科技有限公司","04-24916000","具計價功能"]
[67,"BA098042-2","真是寶牌","ESP-105","30/60/105 kg","10/20/50 g","98.6.2","108.6.1","廣企科技有限公司","04-24916000","具計價功能"]
[68,"BA098043","LEADWAY牌","SEP-30","15/30 kg","5/10 g","98.7.10","108.7.9","廣企科技有限公司","04-24916000","具計價功能"]
[69,"BA098043-1","LEADWAY牌","SAP-30","15/30 kg","5/10 g","98.7.10","108.7.9","廣企科技有限公司","04-24916000","具計價功能"]
[70,"BA098043-2","LEADWAY牌","SUP-30","15/30 kg","5/10 g","98.11.6","108.7.9","廣企科技有限公司","04-24916000","具計價功能"]
[71,"BA098043-3","LEADWAY牌","SQP-30","15/30 kg","5/10 g","98.11.6","108.7.9","廣企科技有限公司","04-24916000","具計價功能"]
[72,"BA098043-4","LEADWAY牌","SSP-30","15/30 kg","5/10 g","98.11.6","108.7.9","廣企科技有限公司","04-24916000","具計價功能"]
[73,"BA098044","JADEVER牌","JPL-1530K","15/30 kg","5/10 g","98.7.23","108.7.22","鈺恆股份有限公司","02-22990203","具計價功能"]
[74,"BA098045","METTLER TOLEDO牌","8442-A","6/15 kg","2/5 g","98.8.14","108.8.13","瑞士商梅特勒托利多股份有限公司台灣分公司","02-26578898","具計價及列印條碼功能"]
[75,"BA098046","METTLER TOLEDO牌","8442-B","6/15 kg","2/5 g","98.8.14","108.8.13","瑞士商梅特勒托利多股份有限公司台灣分公司","02-26578898","具計價及列印條碼功能(吊掛式)"]
[76,"BA098047","英展牌","FAP3-150","60/150 kg","20/50 g","98.9.10","108.9.9","英展實業股份有限公司","02-89191001","具計價功能"]
[77,"BA098047-1","英展牌","FAP3-S-150","60/150 kg","20/50 g","98.11.6","108.9.10","英展實業股份有限公司","02-89191001","具計價功能"]
[78,"BA098048","ISHIDA牌","BC-4000L2P","6/15 kg","2/5 g","98.12.14","108.12.13","致沅貿易股份有限公司","02-22935812","具計價及列印條碼功能"]
[79,"BA098048-1","ISHIDA牌","BC-4000L2B","6/15 kg","2/5 g","98.12.15","108.12.14","致沅貿易股份有限公司","02-22935812","具計價及列印條碼功能"]
[80,"BA098049","ISHIDA牌","BC-4000L2H","6/15 kg","2/5 g","98.12.15","108.12.14","致沅貿易股份有限公司","02-22935812","具計價及列印條碼功能(吊掛式)"]
[null,"98.12.15製"]