Guidelines for Issuing Test Reports Based on CB Test Certificates and CB Test Reports

[Chronicle of Promulgation and Amendments]

Adopted and promulgated by the Bureau of Standards, Metrology and Inspection, Ministry of Economic Affairs on 2 September 2004.

- A domestic designated testing laboratory receiving an application for issuing test reports based on CB test certificates and CB test reports under the Scheme of the IECEE (IEC System for Conformity Testing and Certification of Electrical Equipment) for Mutual Recognition of Test Certificates for Electrical Equipment (hereinafter referred to as the CB Scheme) set forth under Paragraph Two of Article 21 of Regulations Governing Recognition of Designated Test Laboratories for Commodity Inspection (hereinafter referring to as “transfer of test reports”) shall conduct the task in accordance with these Guidelines.

- The designated testing laboratory handling the application for transfer of test reports shall review the following documents and information:

    - The CB test certificate and CB test report (original copy or photocopy); and

    - Other documents and information that is required for issuing test reports according to the requirements of relevant Particular Criteria for Designated Testing Laboratories.

The CB test certificate and CB test report mentioned in Subparagraph (1) of the preceding Paragraph shall be issued by a National Certification Body (NCB) and its associated CB Testing Laboratory (CBTL) that have been registered with the BSMI. The product shall be within the registered scope of CB certification.

If the registration of an NCB or a CBTL mentioned in the preceding paragraph was revoked or rescinded, or the acceptance of its CB test certificates and CB test reports for transfer of test reports was suspended, the designated testing laboratory shall reject the application for transfer of test report.

- After receiving the application for transfer of test reports, the designated testing laboratory shall check whether the product complies with the requirements of relevant inspection standards and, if necessary, shall request samples and documents to be provided by the applicant for performing testing on critical items.

- If the application for transfer of test reports is found complying with the requirements of relevant inspection standards after reviewing or testing, the designated testing laboratory shall issue a complete test report according to the requirements set forth under the relevant Particular Criteria for Designated Testing Laboratories.