Basic inspection and testing equipments for Factory Inspection of Laminated Veneer Lumber Products

Products (HS/CCCN codes) covered:

HS/CCCN	4412.22.21.00.3 	Other unfinished plywood, veneered panels and similar laminated wood, with at least one outer ply of non-coniferous wood, with at least one ply of tropical wood specified in Subheading Note 1 to this Chapter (inspection scope: Laminated veneer lumber)

HS/CCCN	4412.22.22.00.2 	Other processed plywood, veneered panels and similar laminated wood, with at least one outer ply of non-coniferous wood, with at least one ply of tropical wood specified in Subheading Note 1 to this Chapter (inspection scope: Laminated veneer lumber)

HS/CCCN	4412.29.10.00.9 	Other unfinished plywood, veneered panels and similar laminated wood, with at least one outer ply of non-coniferous wood (inspection scope: Laminated veneer lumber)

HS/CCCN	4412.29.20.00.7 	Other processed plywood, veneered panels and similar laminated wood, with at least one outer ply of non-coniferous wood (inspection scope: Laminated veneer lumber)

HS/CCCN	4412.92.21.00.8 	Other unfinished plywood, veneered panels and similar laminated wood, with both outer plies of coniferous wood, containing at least one ply of tropical wood specified in Subheading Note 1 to this Chapter (inspection scope: Laminated veneer lumber)

HS/CCCN	4412.92.22.00.7 	Other processed plywood, veneered panels and similar laminated wood, with both outer plies of coniferous wood, containing at least one ply of tropical wood specified in Subheading Note 1 to this Chapter (inspection scope: Laminated veneer lumber)

HS/CCCN	4412.99.10.00.4 	Other unfinished plywood, veneered panels and similar laminated wood, with both outer plies of coniferous wood (inspection scope: Laminated veneer lumber)

HS/CCCN	4412.99.20.00.2 	Other processed plywood, veneered panels and similar laminated wood, with both outer plies of coniferous wood (inspection scope: Laminated veneer lumber)

Inspection standards:

CNS 11818, CNS 14646

Basic inspection and testing equipments:

Oven【（20±1）℃】, UV-Visible Spectrophotometer or Photometer, Acrylic desiccator